FYS 4250

Chapter 15

- What is the purpose of a defibrillator and make a simple sketch of a basic defibrillator

- What is important for a successful defibrillation?

- In which situations can it be important to synchronize defibrillations?

- What is a coronary angiography and what is it used for?

- Most imaging methods show anatomy which then has to be interpreted in a medical context. Which method is able to give an image of pathology (disease) directly?

- Make a simple sketch of a scintillation detector and explain how this is used in a gamma camera, and what a gamma camera is used for

- Why is it important to have a collimator in a gamma camera?

- What is a SPECT-camera and what is it used for?

- What are the principal differences between a PET-camera and a SPECT-camera?

- Give a brief explanation of a PET scanner and explain what a coincidence detection is

- Why don't we use collimators in a PET-scanner?

- How is the 511-keV converted (and amplified) to an electrical signal in the PET-scanner?

- What are the main advantages and disadvantages with 3D PET-scanner vs a 2D scanner?

- What is attenuation correction, why is it important, what is the disadvantages and how is it done in a modern scanner vs an old scanner?

- EXPERT: Is attenuation most important in a SPECT scanner or a PET scanner?

- If you want the highest resolution, should you select a SPECT or a PET-scanner?

- How is the image constructed in a SPECT/PET scanner?

- What is the major advantages/disadvantages with a PET-MRI scanner vs a PET-CT scanner?

- What is the major advantages/disadvantages with proton therapy compared to regular radiation therapy, and what is a "Bragg peak"?

- What makes the destructive effect inside the cancerous cells from a proton-beam?

Chapter 16

- What are the main parts and the main principle of a linear accelerator (Linac) used for radiation therapy?

- Make a simple sketch of a linac used for radiation therapy

- How is it possible to steer the radiation beam in a linac used for radiation therapy?

- Why do we need a bending magnet in a linac?

- Why is an X-ray unsuitable for treatment of a brain tumor?

- What are the basic principles of an infusion pump?

- What is the basic princples of a syringe pump?

- Why do we need a drop counter for an infusion pump but not a syringepump?

- What is the main challenge with a multipump connection, and why do we use it?

- Is it dangerous or not to touch a patient with one hand during defibrillation?

- What is the single fault concept?

- What is a let-go current?

- Why will the risk of releasing a ventricular fibrillation as a result of electrical shock reach the maximum after approximately a second?

- What are the main advantages/disadvantages with infusion pumps vs syringe pumps?

- Which legal regulations are regulating medical devices?

- What is the legal therm "patient environment" and what is special about this zone?

- What is the difference between macro and micro-shock, and what are the fibrillation thresholds for each situation?

- How is it possible to design an electrical medical device in such a way that the risk of                          current leakage from the amplifier is reduced almost to zero?

- What is a leakage current, and why is it dangerous?

- Describe one test that measures leakage currents, and explain which risk this test will deal with?