FYS 4250

Chapter 9

- What is the traditional way of measuring stages of anesthesia, and how can they separate them?

- Make a simple sketch of an anesthesia machine and describe how it works

- What are the main functions of the anesthesia workstations and what are the main concerns?

- What is the function of a vaporizer on the anesthesia workstation, what is the main problem with it and how can this be compensated?

- What are the main concerns with the scavenging system, and what is special about the valve on this circuit?

- What could happen if the positive pressure relief valve (APL) from the scavenging system does not work properly?

- What could happen if the negative pressure relief valve from the scavenging system does not work properly?

- Why is the APL valve used in the manual mode only?

- What is the main function of the CO2-absorber (soda lime)?

- What is the function of the HME-unit, and what kind of problem could this unit introduce?

- There are two important flowmeters on the anesthesia machine, where are they, and what is the function?

- How it possible to measure anesthesia automatically, and what are are the main sources of error?

- What is a slave regulator, and what is the difference between a two room and a three room slave regulator?

- What can happen if the O2-flush is used for a long time? (It is type-dependent)

- If a patient connected to a BIS-monitor develop fever during surgery, would you expect the BIS-monitor to show a higher BIS-Score or a lower BIS-Score than the real value, or does it calculate the real value anyway?

- EXPERT: Except from BIS-Score, which monitoring parameters could reveal an ongoing awareness?

- EXPERT: Giving anesthesia is to put patients into chemical comas, but there are reports of   30 - 40 000 yearly cases of awareness (the patient wakes up) during anesthesia in the US. In case of awareness, will the patient feel pain when waking up, why/why not?

- EXPERT: What happens with the anesthesia machine if the O2-sensor does not measure correctly?

- EXPERT: What is the difference between a ventilator and the ventilator part of the anesthesia workstation?

- EXPERT: During the first wave of the Covid-19 pandemic, hospitals discussed to use anesthesia workstations as ventilators due to the lack of available ventilators. Why is this problematic, and is it possible?

Chapter 10

- What is a spectrophotometer and how is it designed? (Make a sketch)

- What is an instrument for flame emission, and what is the difference compared to flame absorption? (Make a sketch)

- What is the difference between flame photometers and spectrophotometers?

- What is fluorometry and what is the advantages/disadvantages compared to a spectrophotometer?

- Give a brief overview of the gas/liquid cromatograph (GLC), what is the main advantages/disadvantages with this method?

- What is electrophoresis and what are the main advantages/disadvantages?

- What is the principle of a coulter-counter and what is it used for?

- How is the genetic information stored in a cell, and how can we take advantage of this in a polymerase chain reaction?

- What are the main three cycles of a PCR?

- What is the problem with traditional PCR?

- What is the advantage with qPCR or realtime PCR compared to traditional PCR, and how is such a device designed?

- Why is it important to know the number of copies made of the DNA?

- What is a mass spectrometer and how is it designed? (Make a simple sketch)

- Why do we often combine e.g. gas chromatography with mass spectrometry?

- How is the arriving ions in a mass spectrometer converted to an electrical signal, amplified and measured?

- What are the main advantages and disadvantages with mass spectrometry?

- What is a flow cytometer, and how is it designed?

- EXPERT: Why is Covid-19 antibodies measured in a flow cytometer, while the Covid-19 test is performed in a PCR?

- EXPERT: We do often combine two mass spectrometers, why?

- EXPERT: Why is HB converted to cyanmethemoglobin in the coulter counter?