## Slide 1
Light microscopy
Lysmikroskopi
MENA3100,OBK, 27.01.16
Optical microscopy

## Slide 2
28th. January
What?
Crystallography
Where?
Ø467

## Slide 3
Groups next week:
Forskningsparken
Gaustadalleen 21

## Slide 4
FERMiO

## Slide 5
Lectures next week:
Scanning electron microscope
SEM
At the Physics building
What?
Where?
Who?
Sarmad Saeed

## Slide 6
Today chapter 1: Light Microscopy
The following parts can be considered cursory:
1.3, 1.4.2, 1.4.4, 1.4.5 and 1.5
Cursory: from Latin cursorius ‘of a runner’
rapidly and often superficially performed or produced

## Slide 7
Evaluation
Ved semesterstart skal emneansvarlig a) gå igjennom forrige gangs
«konklusjon» av emneevalueringen med studentene på forelesning.
b) orientere om hvordan emnet skal evalueres (stud.rep.gruppe,
midtveisevaluering, slutteveluering i form av Dialogmøte) b) informere
studentene om at de bør finne 1-2 studentrepresentanter som skal være
med på dialogmøtet i slutten av semesteret (dersom de ikke klarer å finne
noen som vil stille, så vil evalueringen foregå uten studentene).
“
”
Tillitsmann/tillitskvinne

## Slide 11
Only draw the ones
that are ”important”

## Slide 12
One lense
Thin lense
Projection

## Slide 13
Optical axis
Through the centre is not deflected
Parallell to the optical axis goes
through back focal plane
f
(Through focal plane before lense
becomes parallel optical axis.)
f
Projected onto a screen
Distance one to two focal lengths
OBS!
The image of the pencil has
of cause no width in the
direction parallell the optical
axis!

## Slide 14
Focal plane

## Slide 15
Optical axis
f
f
s (= v)
s’
M =
s’
s
f
M =
v − f
f

## Slide 16
s (= v)
s’
f
2f > s > f
Magnified, real image
f
f

## Slide 17
s (= v)
s’
f
s > 2f
Demagnified, real image
f
f

## Slide 18
s (= v)
s’
f
s < f
Magnefied, virtual image
f
f
Magnifying glass (forstørrelsesglass, lupe)

## Slide 19
s (= v)
s’
f
f
f

## Slide 20
Compound microscope
Det sammensatte mikroskop
Objective
Eyepiece
Okular
Object
Real image
(Primary image)
Real image
on retina
Virtuell image
Usually corrected to «infinite» tubus
OBS! Error in figure

## Slide 22
All rays originated from the
same point are collected here
Image plane
All rays spread in the same
direction are collected here
Diffraction plane
Fourier plane

## Slide 23
Fourier transformation
Read the text from Johan Taftø

## Slide 25
Light microscope
We want to see more details
Magnification (Forstørrelse)
Resolution (Oppløsningsevne)
Contrast
Optical microscope

## Slide 26
Simple microscope
Magnifying glass (forstørrelsesglass, lupe)
Virtual image
Virtual:
: very close to being something without actually being it
: existing or occurring on computers or on the Internet

## Slide 27
Magnifying glass
Antony van Leeuwenhoek
(1632−1723)

## Slide 28
Det sammensatte mikroskop
ca. 1595 Hans Janssen
Robert Hooke
(1635−1703)
Micrographia, 1664
The compound microscope

## Slide 30
Stereo mikroskope

## Slide 31
Compound microscope
for transmitted light
Microscope for transmitted light

## Slide 32
Mikroskope for reflected light

## Slide 34
f
f
s (= v)
s’
f

## Slide 35
www.microscopy-analysis.com/files/
jwiley_microscopy/2006_Sept_Hammond.pdf

## Slide 36
Illuminating system
Prøve
Filament
Feltblender
Field diaphragm
Aperturblender
Aperture diaphragm
Kondensorlinse

## Slide 37
Belysningssystemet
Prøve
Filament
Feltblender
Aperturblender
Kondensorlinse
Köhler-belysning
Jevn belysning av prøven
Feltblenderen
Bestemmer det belyste
området
Aperturblenderen
Bestemmer vinkelen på
lyskjeglen som treffer
prøven
August Köhler
1866─1948

## Slide 38
Avbildningssystemet
Prøve
Objektiv
”Tube lens”
Eyepiece
Okular

## Slide 39
Primært bilde

## Slide 40
Refraction
Refraksjon ─ lysbrytning
Snell’s law:
Sin ϕ 1
Sin ϕ 2
n2
n1
v1
v2
=
=
ϕ1
2

## Slide 41
Chromatic aberation

## Slide 42
Spherical aberasjon
+ astigmatisme, koma, fortegning ...

## Slide 43
Correcsions
Objective
Acromate: Chromatic for red and blue,
spherical for green
Semi-acromate (fluorite)
Apochromate: Chromatic for red,
green, blue and dark
blue, spherical for green
and blue

## Slide 44
Kondensorsystem
Eyepice
Okular (ocular)
More are needed than just the objective

## Slide 45
The limiting factor: Diffraction
R = 0,61l/NA
Resolution (Oppløsning)
Rayleigh criterion

## Slide 46
Abbe: ”A microscope image is the interferense effect
of a diffraction phenomena”

## Slide 48
Numerical aperture (NA)
NA = nsina
R = 0,61l/NA
Resolution
Oppløsning

## Slide 50
Objectives for oil immersion

## Slide 51
Eric Betzig
Stefan W. Hell
William E. Moerner
The Royal Swedish Academy of Sciences has decided toawardErik Betzig, StefanW.Hell and W. E.Moernerthe Nobel Prize in Chemistry 2014 for the development of super-resolution fluorescence microscopy.

## Slide 52
Fluorescence microscopy
Confocal microscopy

## Slide 54
Optical anisotropy
Calcite

## Slide 55
Optically active crystals in the microscope

## Slide 56
Optically active crystals in the microscope

## Slide 57
Remember that geologists often call their book on microscopy on thin sections for
optical crystallography, and microscopy with reflected light is ore microscopy (malmmikroskopi).
Some web sites:
http://www.olympusmicro.com/primer/ Not there 
http://www.microscopyu.com/
http://www.micro.magnet.fsu.edu/ Not there 
http://www.micro.magnet.fsu.edu/primer/pdfs/basicsandbeyond.pdf Not there 