## Slide 1
MENA3100,OBK, 20.01.16
An overview
An overview ?

## Slide 2
To examine something
We need a probe

## Slide 3
Light as a probe

## Slide 4
Detector

## Slide 5
Aids

## Slide 6
f
f
s (= v)
s’
f
M =
s’
s
M =
s’ − f
f
Real image
Lens formula:

## Slide 7
s (= v)
s’
f
f
f
Virtual image

## Slide 8
s (= v)
s’
f
f
f

## Slide 9
Object
Real image
(Primary image)
Real image
On retina
Virtual image

## Slide 10
Wavelength ca. 400−800 nm

## Slide 11
Elektromagnetic radiation
«No» lenses for X-rays
X-rays: 10-3−101 nm

## Slide 12
Wave-particel duality
Louis de Broglie
The wave nature of electrons

## Slide 13
Scanning elektron mikroscope (SEM)
Transmision elektron mikroscope (TEM)
2−30 kV
60−300 kV
15 kV → 0,083 nm
200 kV → 2,5 pm

## Slide 15
Imaging vs. diffraction
All rays originated
from the same point
Image plane
All rays going in
the same direction
Diffraction plane
Fourier plane

## Slide 16
Diffraction from a lattice
Often monochromatic radiation

## Slide 17
Crystals
Unit cell

## Slide 18
X-ray diffraction
Elektron diffraction
Neutron diffraction

## Slide 19
Spektroscopy
Sodium